## AgentData_csv
Agent data from IEEE-14 network system

Variable name	Type	Unit	Min	Max	# Missing	Description
Agent	Integer		1	20		Agent ID
Type	String					Type of agent (consumer, producer or grid)
Energy	String					Energy source used by the producers
Bus	Integer		1	14		Bus ID that agent ID is located
Community	Integer		1	3		Bus ID that agent ID is located
Pmin	Float	MW	0	0		Minimum installed power capacity
Pmax	Float	MW	0	94.2		Maximum installed power capacity
a ($/MW^2)	Float	$/MWh^2	-5.16	3.64		Quadratic coefficient of utility curve
b ($/MW)	Float	$/MWh	0	62.1		Linear coefficient of utility curve

## NetworkData_csv
Network data from IEEE common data repository: http://www.ee.washington.edu/research/pstca/

Variable name	Type	Unit	Min	Max	# Missing	Description
Line	Integer		1	20		Line ID
From	Integer		1	13		Origin node
To	Integer		2	14		Destination node
R	Float	p.u.	0	0.22092		Per-unit resistance of the line
X	Float	p.u.	0.04211	0.55618		Per-unit reactance of the line
B	Float	p.u.	0	0.0528		Per-unit shunt susceptance of the line
CAP	Float	MVA	12	120		Thermal limive of the line
Tap setting	Float		0	1		Tap ratio of transformer. Value 0 indicates no transformer in that line

## MarketPrice_csv
Market prices from AEMO webpage: https://www.aemo.com.au/

Variable name	Type	Unit	Min	Max	# Missing	Description
Date (month/day/year)	Datetime	MM-DD-YYYY				Operational day
Time	Datetime	HH:MM:SS				Operational time
Export - Market price ($/MWh)	Float	$/MWh	0	185.05		Exportation price from the agents to the main grid
Import - Market price ($/MWh)	Float	$/MWh	0	205.05		Importation price from the main grid to the agents

## RenewableProduction_csv
Wind and solar data from Autralian data sets: https://pure.strath.ac.uk/portal/en/datasets/australian-electricity-market-operator-aemo-5-minute-wind-power-data(9e1d9b96-baa7-4f05-93bd-99c5ae50b141).html and https://www.tandfonline.com/doi/full/10.1080/14786451.2015.1100196

Variable name	Type	Unit	Min	Max	# Missing	Description
Date (month/day/year)	Datetime	MM-DD-YYYY				Operational day
Time	Datetime	HH:MM:SS				Operational time
12	Float	MWh	0	48.74166762		Renewable production level of agent 12
13	Float	MWh	0	26.48030114		Renewable production level of agent 13
14	Float	MWh	0	40		Renewable production level of agent 14
15	Float	MWh	0	14.88095238		Renewable production level of agent 15
16	Float	MWh	0	15		Renewable production level of agent 16

## LoadMaxPower_csv
Wind and solar data from Autralian data set: https://www.tandfonline.com/doi/full/10.1080/14786451.2015.1100196

Variable name	Type	Unit	Min	Max	# Missing	Description
Date (month/day/year)	Datetime	MM-DD-YYYY				Operational day
Time	Datetime	HH:MM:SS				Operational time
1	Float	MWh	0	21.7		Maximum consumption of agent 1
2	Float	MWh	0	94.2		Maximum consumption of agent 2
3	Float	MWh	0	47.8		Maximum consumption of agent 3
4	Float	MWh	0	7.6		Maximum consumption of agent 4
5	Float	MWh	0	11.2		Maximum consumption of agent 5
6	Float	MWh	0	29.5		Maximum consumption of agent 6
7	Float	MWh	0	9		Maximum consumption of agent 7
8	Float	MWh	0	3.5		Maximum consumption of agent 8
9	Float	MWh	0	6.1		Maximum consumption of agent 9
10	Float	MWh	0	13.5		Maximum consumption of agent 10
11	Float	MWh	0	14.9		Maximum consumption of agent 11

## LoadMinPower_csv
Wind and solar data from Autralian data set: https://www.tandfonline.com/doi/full/10.1080/14786451.2015.1100196

Variable name	Type	Unit	Min	Max	# Missing	Description
Date (month/day/year)	Datetime	MM-DD-YYYY				Operational day
Time	Datetime	HH:MM:SS				Operational time
1	Float	MWh	0	19.3265962		Minimum consumption of agent 1
2	Float	MWh	0	86.01582183		Minimum consumption of agent 2
3	Float	MWh	0	45.74365948		Minimum consumption of agent 3
4	Float	MWh	0	6.360016589		Minimum consumption of agent 4
5	Float	MWh	0	9.10808196		Minimum consumption of agent 5
6	Float	MWh	0	25.23758831		Minimum consumption of agent 6
7	Float	MWh	0	8.108983227		Minimum consumption of agent 7
8	Float	MWh	0	2.720509594		Minimum consumption of agent 8
9	Float	MWh	0	5.334043878		Minimum consumption of agent 9
10	Float	MWh	0	11.92811084		Minimum consumption of agent 10
11	Float	MWh	0	13.34473565		Minimum consumption of agent 11